PLEASE READ!!

HELENA LABORATORIES

PROCEDURE DOWNLOAD END USER AGREEMENT

In response to customer requests, Helena is pleased to provide the text for procedural package inserts in a digital format editable for your use.  The text for the procedure you requested begins on page three of this document.  Helena procedures contain the content outlined in the NCCLS (GP2-A#) format, except in the order sequence required by FDA regulations.  As the NCCLS format is a guideline, you may retain these procedures as developed by the manufacturer (adding your title/authorization page) or manipulate the text file to produce your own document, matching the NCCLS section order exactly, if preferred.

We also provide the procedure in an Adobe Acrobat PDF format for download at www.helena.com as a “MASTER” file copy.  Below are the specifications and requirements for using these digital files.  Following the specifications is the procedure major heading sequence as given in the FDA style.  Where there is a difference in order, or other notation in the outline, this will be indicated in braces { }.

WHAT YOU NEED TO KNOW:

1)	These files represent the most current revision level to date.  Your current	product inventory could contain a previous revision level of this procedure.

2)	The Microsoft Word document provides the text only from the master procedure, in a single-column format.

-	It may not contain any illustrations, graphics or captions that may be part of the master procedure included in the kit.

-	The master procedure may have contained special formatting characters, such as subscripts, superscripts, degree symbols, mean symbols and Greek characters such as alpha, beta, gamma, etc.  These symbols may or may not display properly on your desktop.

-	The master procedures may also contain columns of tabbed data.  Tab settings may or may not be displayed properly on your desktop.

3)	The Adobe Acrobat PDF file provides a snapshot of the master procedure in a printable 8.5 x 11” format.  It is provided to serve as a reference for accuracy.

4)	By downloading this procedure, your institution is assuming responsibility for modification and usage.

HELENA LABORATORIES

PROCEDURE DOWNLOAD END USER AGREEMENT

HELENA LABORATORIES LABELING – Style/Format Outline

1)	PRODUCT {Test} NAME

2)	INTENDED USE and TEST TYPE (qualitative or qualitative)

3)	SUMMARY AND EXPLANATION

4)	PRINCIPLES OF THE PROCEDURE

{NCCLS lists SAMPLE COLLECTION/HANDLING next}

5)	REAGENTS (name/concentration; warnings/precautions; preparation; storage; environment; Purification/treatment; indications of instability)

6)	INSTRUMENTS required – Refer to Operator Manual (... for equipment for; use or function; Installation; Principles of operation; performance; Operating Instructions; Calibration* {*is next in order for NCCLS – also listed in “PROCEDURE”}’ precautions/limitations/hazards; Service and maintenance information

7)	SAMPLE COLLECTION/HANDLING

8)	PROCEDURE

{NCCLS lists QUALITY CONTROL (QC) next}

9)  RESULTS (calculations, as applicable; etc.)

10)  LIMITATIONS/NOTES/INTERFERENCES

11)  EXPECTED VALUES

12)  PERFORMANCE CHARACTERISTCS

13)  BIBLIOGRAPHY (of pertinent references)

14)  NAME AND PLACE OF BUSINESS OF MANUFACTURER

15)  DATE OF ISSUANCE OF LABELING (instructions)

For Sales, Technical and Order Information, and Service Assistance, 
call Helena Laboratories toll free at 1-800-231-5663.

Form 364

Helena Laboratories

1/2006 (Rev 3)

COLOSCREEN
A TEST FOR OCCULT BLOOD

INTENDED USE

ColoScreen is a guaiac slide test for the qualitative detection of fecal occult blood. It is a useful aid in the diagnosis of a number of gastrointestinal disorders and is recommended for use in:

1. Routine physical examinations

2. Routine hospital testing

3. Mass screening for colorectal cancer

SUMMARY

The detection of occult blood is critical for the detection of many gastrointestinal diseases. The presence of

occult blood in fecal material may indicate gastrointestinal pathology such as hemorrhoids, diverticulitis, fissures, colitis or colorectal cancer. Fortunately, these conditions can be detected with several diagnostic methodologies available which include testing of stools for occult blood, complete physical examination with digital examination, and proctosigmoidoscopy. Air contrast barium enema and fiberoptic colonoscopy also contribute significantly to the diagnosis of colonic lesions. Unfortunately, only a small percentage of bowel and rectal cancers are found on digital examination and patients with no symptoms of bowel disease do not readily present themselves for procedures such as proctosigmoidoscopy and barium enema.

ColoScreen is a simple, aesthetic, inexpensive test designed for use in the collection and preparation of stool specimens. It overcomes the instability of guiaiac solution and the hypersensitivity of benzidine and orthotolidine.10

If a positive result is obtained with the test, a followup with additional diagnostic tests, as soon as possible, is essential. As with any occult blood test, results with ColoScreen cannot be considered conclusive evidence of the presence or absence of gastrointestinal bleeding or pathology. The test is not intended as a replacement for other diagnostic procedures such as proctosigmoidoscopy examination, barium enema, and Xray studies.

PRINCIPLE

ColoScreen is composed of guaiac impregnated paper enclosed in a cardboard frame which permits sample application to one side, and development and interpretation on the reverse side. The process involves placing two specimens, collected from each of three successive evacuations, onto the guaiac paper.

ColoScreen, like all guaiac paper tests for occult blood, is based on the oxidation of phenolic compounds present in the guaiac (i.e. guaiaconic acids) to quinones resulting in production of the blue color.1 Because of its similarity to the prosthetic group of peroxidase, the hematin portion of the hemoglobin molecule can function in a pseudoenzymatic manner, catalyzing the oxidation of guaiac.

When a fecal specimen containing occult blood is applied to the test paper, contact is made between hemoglobin and the guaiac. A pseudoperoxidase reaction will occur upon the addition of the developer solution, with a blue chromagen formed proportionally to the concentration of hemoglobins. The color reaction will occur after thirty seconds.

Hemoglobin + Developer
Hb + 2H2O2                2H2O + 
Oxidation of Guaiac
O2 + Guaiac        Oxidized Guaiac

(Colorless) (Blue)

The ColoScreen kits include ColoCheck Monitors which provide a quality control system for each test. The ColoCheck Monitors are incorporated into each slide.

REAGENTS

1. ColoScreen Slides and Monitors 
Reactive Ingredients: ColoScreen Slides are made of quality controlled paper impregnated with guaiac resin. ColoCheck Positive Monitor contains an impregnated substance which will turn blue if product is functioning properly. The ColoCheck Negative Monitor consists of guaiac impregnated paper.

WARNING: FOR IN-VITRO DIAGNOSTIC USE. 
Preparation for Use: The slide is ready for use as packaged. 
Storage and Stability: These products should be stored at room temperature (15 to 30°C) and are stable until the expiration date indicated on each slide. Do not use after expiration date. Both items should be protected from heat, humidity, light, fluorescent light, U.V. radiation, excessive air flow, or volatile chemicals (e.g. iodine or bleach). Do not refrigerate or freeze.

Signs of Deterioration: Discoloration of the normally light tan paper may occur if exposed to sunlight, fluorescent or ultraviolet light. Failure of the control system to react as expected may be indicative of deterioration of the developer or the slide, and test results should be regarded as invalid.

2. ColoScreen Developer 
Reactive Ingredients: ColoScreen Developer contains < 6% hydrogen peroxide and denatured ethanol.

WARNING: FOR IN-VITRO DIAGNOSTIC USE. DANGER: FLAMMABLE. NEVER PIPETTE BY MOUTH. VAPOR HARMFUL. DO NOT INGEST OR PLACE IN EYES. May cause blindness, or be fatal if swallowed. Keep away from heat, sparks, or an open flame. Avoid contact with eyes and skin. Should contact occur, flush the affected area with water and get immediate medical attention. 
Preparation for Use: ColoScreen Developer is ready for use as packaged. 
Storage and Stability: ColoScreen Developer should be stored tightly capped at 15 to 30°C protected from heat and light. Under these conditions, the developer will remain stable until the expiration date indicated on the bottle. Do not use after the expiration date. Do not substitute reagents from other manufacturers. 
Signs of Deterioration: Failure of the ColoCheck Monitors to react as expected may be indicative of deterioration of the developer or the slide, and the test results should be regarded as invalid.

SPECIMEN COLLECTION AND HANDLING

Patient Preparation:

A. It is recommended that the patient be placed on a high residue diet starting 2 days before and continuing through the test period.

DIET MAY INCLUDE:

1. Meats: Only small amounts of wellcooked chicken, turkey and tuna.

2. Vegetables: Generous amounts of both raw and cooked vegetables including lettuce, corn, s pinac h , carrots and celery. Avoid raw vegetables with high peroxidase activity such as those listed below.

3. Fruits: Plenty of fruits, especially prunes and apples.

4. Cereals: Bran and brancontaining cereals.

5. Moderate amounts of peanuts and popcorn daily. If any of the above foods are known to cause discomfort, the patient is instructed to consult his/her physician.

TO BE AVOIDED:

1. Meat: Diet should not include any red or rare meat.

2. Raw fruits and vegetables containing high peroxidase activity:

| Turnip | Cauliflower | Red radishes |
| --- | --- | --- |
| Broccoli | Cantaloupe |  |
| Horseradish | Parsnip |  |

B. Alternately, the special diet may be omitted initially with dietary restrictions imposed upon the retesting of all positive results. However, because gastrointestinal lesions may bleed intermittently and blood in feces is not distributed uniformly, all patients with positive tests regardless of diet, should have follow-up diagnostic procedures done.

C. Other factors which affect the test:

1. Medications: For 7 days prior to and during the testing, do not ingest aspirin9 or other anti-inflammatory medicines. For 2 days prior to and during testing, do not use rectal medicines, or tonics, or vitamin preparations which contain Vitamin C (ascorbic acid) in excess of 250 mg per day.

2. Bleeding hemorrhoids or open cuts on hands.

3. Collection of specimen during menstrual cycle.

4. Improper specimen collection

5. Other diseases of the gastrointestinal tract such as colitis, gastritis, diverticulitis and bleeding ulcers.

Specimen Handling: Using the applicators provided, obtain a small sample of the stool from the toilet bowl. It is very important that the stool specimen be applied as a very thin smear to the ColoScreen Slides. Obtain a second sample of the stool, from a different location, in the same manner. Apply a very thin smear to the slide. Allow the smears to air dry. The slide smears may be prepared and developed immediately or stored up to 12 days prior to development. Care should be taken so that anything coming into contact with the specimen is free of blood. Because of the nonhomogeneity of the stool, it is recommended that the test be performed on three (3) consecutive evacuations, or as close together as possible.2,3

Patient specimens and all materials in contact with them should be handled as potentially infectious and should be disposed of using proper precautions. Return the completed slide to your physician or laboratory as instructed. If the slide is returned by mail, use the foilback envelope provided. DO NOT use a standard paper envelope, as they are not approved by U.S. Postal Regulations.

Interfering Substances: Ingestion of ascorbic acid (Vitamin C) in high doses has been shown to cause false negative results, and intake should be discontinued 2 days prior to, and during, the test period.4

Peroxidase from fruit and vegetables can cause false positive results.58 Elimination of red meat from the diet during the test period eliminates the source of hemoglobin which can cause false positives. Oral medications (such as aspirin, indomethacin, reserpine, phenalbutazone, corticosteroids, etc.) and heavy alcohol consumption may cause irritation or bleeding of the gastrointestinal tract and should be discontinued for 7 days prior to and during the test period.

PROCEDURE

Materials Provided:

The following materials are provided by Helena Laboratories for performance of fecal occult blood tests:

ColoScreen Slides with Monitors

ColoScreen Developer

Collection Tissues

Specimen Applicators

ColoScreen Mailing Envelopes

Kit combinations have been designed to meet individual laboratory demands. Please see the back page of this package insert for kit listings.

METHOD

Supply all information listed on the front flap of the ColoScreen Slide. Open the front flap.

A.	Sample Collection and
	Application

1.	Unfold one of the collection tissues. Float it on the surface of the water so that the edges stick to the sides of the toilet bowl. The stool should fall onto the tissue.

2.	Using the applicator provided, collect a small amount of specimen from different areas (e.g. surface or interior) of the stool on one end of applicator. Apply a very thin smear in Box A.

3.	Reuse applicator to obtain a second sample from a different part of the stool specimen. Apply a very thin smear inside Box B. (On subsequent bowel movements, repeat above steps on additional slides.)

4.	Flush tissue with stool, and discard stick in waste container.

5.	Allow the specimen to air dry, then close the cover.

B.	Development

1.	Open perforated window on the back of the slide.

2.	Apply two (2) drops of ColoScreen Developer to the back side of boxes A and B.

3.	Read results after 30 seconds and within 2 minutes.

4.	Record the results; any trace of blue color, within or on the 
outer rim of the specimen, is positive for occult blood.

C.	ColoCheck Monitors

Note: The procedure for developing the sample test must be completed, interpreted and recorded before proceeding with the development of ColoCheck Monitors.

1.	To develop ColoCheck Monitors, place one or two drops of ColoScreen Developer between the Positive and Negative Monitor boxes.

2.	Read the results after 30 seconds and within 2 minutes.

3.	Positive ColoCheck Monitor should turn blue, but the Negative ColoCheck Monitor should not have any trace of blue.

Stability of End Product: The color reaction is not permanent. Fading may occur after approximately 2 minutes.

QUALITY CONTROL

ColoCheck Monitors are provided on each ColoScreen Slide. This specially treated area provides assurance that the guaiac-impregnated paper and the ColoScreen Developer are reacting according to product specifications. Positive ColoCheck Monitor is an impregnated substance in a base carrier and will turn blue within 30 seconds after application of ColoScreen Developer if the test system is reacting according to product specifications. Negative ColoCheck Monitor consists of guaiac impregnated paper and will not turn blue upon addition of ColoScreen Developer.

INTERPRETATION OF RESULTS

Any trace of blue color within the specimen application area is a positive for occult blood, if ColoCheck Monitors react properly. Remember always to develop the test, interpret, and record results before developing the ColoCheck Monitors. Interpretation of the test should not be done by one who is color blind.

LIMITATIONS

Results obtained with ColoScreen cannot be considered conclusive evidence of the presence or absence of gastrointestinal bleeding or pathology. False negative results may be obtained, since most bleeding occurs intermittently. ColoScreen tests are designed as a preliminary screen and are not intended to replace other diagnostic procedures such as proctosigmoidoscopy, barium enema or Xray studies. ColoScreen will detect only hemoglobin released upon hemolysis of the red cell. Should whole blood be applied to the test paper, it is necessary to hemolyze the red cells by the addition of a drop of water before adding the developer. Refer to “Interfering Substances” for a further list of limiting substances.

EXPECTED RESULTS

The guaiac paper tests detect occult blood but they are not diagnostic for disease. Positive occult blood tests may be obtained for reasons which range from red meat in the diet, diverticulitis, hemorrhoids, colitis to colorectal cancer. Patients who have a positive test should verify that they have followed a proper diet prior to specimen collection, and should immediately consult a physician who can perform definitive tests to determine the cause of bleeding. Patients experiencing symptoms such as persistent diarrhea or constipation, abdominal pain, visible bleeding, etc., should consult a physician.

ColoScreen will detect 10 mg of hemoglobin per gram of homogenized fecal material.14 Guiaiac impregnated paper has been extensively studied.1113 Clinical studies illustrate that the guiaiac impregnated slide tests yield a positive testing range of 35% in screening programs. The false positive rate was between 12% during controlled conditions (diet, medical supervision, etc.).

BIBLIOGRAPHY

1.	Kratochvil, J.F. et al., Isolation and Characterization of Alpha Guaiaconic Acid and the Nature of Guaiacum Blue, Phytochem, 10:25292531, 1971.

2.	Greegor, D.H., Detection of Silent Colon Cancer in Routine Examination, Cancer, 19:330337, 1969.

3.	Greegor, D.H., Occult Blood Testing for Detection of Asymptomatic Colon Cancer, Cancer, 28:131134, 1971.

4.	Jaffe, R.M., FalseNegative Stool Blood Tests Caused by Ingestion of Ascorbic Acid (Vitamin C), Ann Int Med, 83:824, 1975.

5.	Winawer, S.J. et al., Current Status of Fecal Occult Blood Testing in Screening for Colorectal Cancer, CAACancer J for Clinicians, 32(2):100113, 1982.

6.	Hagihara, P.F., Proceedings of 68th Annual Clinical Congress, Am College Surgeons, 5557, 1982.

7.	Bassett, M.L.	and Goulston, K.J., False Positive and Negative Hemoccult Reaction on a Normal Diet and Effect of Diet Restriction, Aust NZ J Med, 10:14, 1980.

8.	Winawer, S.J. and Fleisher, M., Sensitivity and Specificity of the Fecal Occult Blood Test for Colorectal Neoplasia, Gastroenterology, 82:986991, 1982.

9.	Grossman, M.I. et al., Fecal Occult Blood Loss Produced by Oral and Intravenous Administration of Various Salicylates, Gastroenterology, 40:383388, 1961.

10.	Irons, G.V. and Kirsner, J.B., Routine Chemical Tests of the Stool for Occult Blood: An Evaluation, AM J of Med Sci, 294:247260, 1965.

11.	Ostrow, J.D. et al., Sensitivity and Reproducibility of Chemical Tests for Fecal Occult Blood with an Emphasis on FalsePositive Reactions, Amer J Dig Dis, 18:930, 1973.

12.	Greegor, D.H., A Progress Report Detection of Colorectal Cancer Using Guiaiac Slides, Cancer, 22(6):360, 1972.

13.	Hastings, J.B., Mass Screening for Colorectal Cancer, Amer J Surg, 127:288, 1974.

14.	Ebaugh, Jr., F.G., Quantitative Measurement of Gastrointestinal Blood Loss, J of Laboratory and Clinical Medicine, 53:77, 1959.

PRODUCTS AVAILABLE

Cat. No.

ColoScreen III Office Pack 	5073

(Includes: ColoScreen III Slides, 80;

ColoScreen Developer, 6 x 15 mL;

Collection Tissues, 80; Applicators,

300; Mailing Envelopes, 80)

ColoScreen Developer, 20 x 15 mL vials 	5077

ColoScreen Developer-2, 20 x 15 mL vials 	5078

ColoScreen III Envelopes, 100 	1002

For Sales, Technical and Order Information and Service Assistance, call 8002315663 toll free.

Helena Laboratories warrants its products to meet our published specifications and to be free from defects in materials and workmanship. Helena’s liability under this contract or otherwise shall be limited to replacement or refund of any amount not to exceed the purchase price attributable to the goods as to which such claim is made. These alternatives shall be buyer’s exclusive remedies. In no case will Helena Laboratories be liable for consequential damages even if Helena has been advised as to the possibility of such damages. The foregoing warranties are in lieu of all warranties expressed or implied including, but not limited to, the implied warranties of merchantability and fitness for a particular purpose.

Pro 135

4/98