PLEASE READ!!

HELENA LABORATORIES

PROCEDURE DOWNLOAD END USER AGREEMENT

In response to customer requests, Helena is pleased to provide the text for procedural package inserts in a digital format editable for your use.  The text for the procedure you requested begins on page three of this document.  Helena procedures contain the content outlined in the NCCLS (GP2-A#) format, except in the order sequence required by FDA regulations.  As the NCCLS format is a guideline, you may retain these procedures as developed by the manufacturer (adding your title/authorization page) or manipulate the text file to produce your own document, matching the NCCLS section order exactly, if preferred.

We also provide the procedure in an Adobe Acrobat PDF format for download at www.helena.com as a “MASTER” file copy.  Below are the specifications and requirements for using these digital files.  Following the specifications is the procedure major heading sequence as given in the FDA style.  Where there is a difference in order, or other notation in the outline, this will be indicated in braces { }.

WHAT YOU NEED TO KNOW:

1)	These files represent the most current revision level to date.  Your current	product inventory could contain a previous revision level of this procedure.

2)	The Microsoft Word document provides the text only from the master procedure, in a single-column format.

-	It may not contain any illustrations, graphics or captions that may be part of the master procedure included in the kit.

-	The master procedure may have contained special formatting characters, such as subscripts, superscripts, degree symbols, mean symbols and Greek characters such as alpha, beta, gamma, etc.  These symbols may or may not display properly on your desktop.

-	The master procedures may also contain columns of tabbed data.  Tab settings may or may not be displayed properly on your desktop.

3)	The Adobe Acrobat PDF file provides a snapshot of the master procedure in a printable 8.5 x 11” format.  It is provided to serve as a reference for accuracy.

4)	By downloading this procedure, your institution is assuming responsibility for modification and usage.

HELENA LABORATORIES

PROCEDURE DOWNLOAD END USER AGREEMENT

HELENA LABORATORIES LABELING – Style/Format Outline

1)	PRODUCT {Test} NAME

2)	INTENDED USE and TEST TYPE (qualitative or qualitative)

3)	SUMMARY AND EXPLANATION

4)	PRINCIPLES OF THE PROCEDURE

{NCCLS lists SAMPLE COLLECTION/HANDLING next}

5)	REAGENTS (name/concentration; warnings/precautions; preparation; storage; environment; Purification/treatment; indications of instability)

6)	INSTRUMENTS required – Refer to Operator Manual (... for equipment for; use or function; Installation; Principles of operation; performance; Operating Instructions; Calibration* {*is next in order for NCCLS – also listed in “PROCEDURE”}’ precautions/limitations/hazards; Service and maintenance information

7)	SAMPLE COLLECTION/HANDLING

8)	PROCEDURE

{NCCLS lists QUALITY CONTROL (QC) next}

9)  RESULTS (calculations, as applicable; etc.)

10)  LIMITATIONS/NOTES/INTERFERENCES

11)  EXPECTED VALUES

12)  PERFORMANCE CHARACTERISTCS

13)  BIBLIOGRAPHY (of pertinent references)

14)  NAME AND PLACE OF BUSINESS OF MANUFACTURER

15)  DATE OF ISSUANCE OF LABELING (instructions)

For Sales, Technical and Order Information, and Service Assistance, 
call Helena Laboratories toll free at 1-800-231-5663.

Form 364

Helena Laboratories

1/2006 (Rev 3)

Helena Ristocetin

The Helena Ristocetin is intended for use in platelet aggregation studies to aid in the diagnosis of von Willebrand’s disease.

SUMMARY

Ristocetin is an antibiotic which was withdrawn from pharmaceutical use as a result of a high occurrence of thrombocytopenia in patients taking the drug.1 In 1971, Howard and Firkin found that platelets of von Willebrand’s patients had impaired aggregation response when exposed to ristocetin.2 Several variant forms of von Willebrand’s disease have been identified. They are usually differentiated into qualitative and quantitative abnormalities of Factor VIII Related Antigen and Factor VIII von Willebrand factor. The ristocetin cofactor is a property of von Willebrand factor which promotes agglutination of platelets in the presence of the antibiotic Ristocetin. Defective, ristocetin-induced aggregation has also been found in conjunction with other disease states, including the Bernard-Soulier Syndrome, as well as aspirin ingestion.3

PRINCIPLE

Ristocetin-platelet aggregation studies are performed utilizing platelet-rich plasma (PRP). The rate of ristocetin induced agglutination is related to the concentration of von Willebrand factor.

REAGENT

1. RISTOCETIN

ReactiveIngredients: Helena Ristocetin is a product of Nocardia which has been stabilized with buffers and lyophilized to assure stability. The concentration post-reconstitution is 15 mg/mL; the concentration after addition to plasma (1:10) is 1.5 mg/mL.

WARNING: FOR IN-VITRO DIAGNOSTIC USE AVOID INGESTION.

Preparation for Use: Reconstitute Helena Ristocetin with 0.5 mL of deionized water. Swirl gently and allow product to stand about 5 minutes at room temperature for complete dissolution. After reconstitution, the ristocetin should appear as a clear liquid with a slightly yellow tint.

Storageand Stability: The lyophilized ristocetin is stable until the expiration date on the label when stored at 2-8°C. The reconstituted product is stable for 4 hours at 15-30°C, or for one month at -20°C.

Signs of Deterioration: The unreconstituted Helena Ristocetin must appear as a white plug or pieces of that plug.

INSTRUMENTS

Helena Ristocetin Reagent is suitable for use with any turbidimetric aggregation monitoring device. Recommended is the Helena AggRAM (Cat. No. 1484) or the PACKS-4 (Platelet Aggregation Chromogenic Kinetic System) (Cat. No. 1471).

SPECIMEN COLLECTION AND HANDLING Specimen: Plasma obtained from whole blood collected with 3.2% sodium citrate as an anticoagulant is the specimen of choice. Hemolyzed samples may cause erroneous aggregation results. Specimen Collection: Blood may be collected with evacuated test tubes, a 2-syringe technique, or with a butterfly and syringe technique. Accurate coagulation studies depend on the correct whole blood to anticoagulant ratio. For blood specimens with hematocrits (HCT) of < 55% (normal), 9 parts of freshly collected whole blood should be immediately added to one part anticoagu-lant.4 For blood specimens with hematocrits outside the normal range, adjust the amount of whole blood added to the anticoagulant according to the following formula.5

Parts whole blood to =      0.6      x  9

One part anticoagulant (1-.HCT)

Particular care should be taken when using evacuated test tubes. These tubes are designed to draw 9 parts blood to 1 part anticoagulant. If the hematocrit is determined abnormal, blood should be drawn into a syringe and an appropriate amount mixed with an adjusted volume of citrate anticoagulant. During all phases of collection and post collection of a specimen, only plastic or siliconized glass labware should be used.6

Specimen Preparation:

1.  Prepare platelet rich plasma (PRP) by centrifuging both of the anticoagulated samples at 100 x g 10-15 minutes at room temperature. DO NOT BRAKE THE CENTRIFUGE. Remove the PRP from the cells with a plastic pipette and place in a plastic tube labeled PRP. Cap the tube and maintain at room temperature. Wait 30 minutes after PRP is removed before testing.

2. Prepare platelet poor plasma (PPP) by recentrifuging the remaining blood samples at 1600-2000 x g (or an equivalent centrifugation force) for 10-15 minutes at room temperature. DO NOT BRAKE THE CENTRIFUGE. Remove PPP, place in a plastic tube labeled PPP and cover. Maintain at room temperature.

3. A platelet count should be performed on the patient PRP and a normal control PRP. The platelet count should be standardized (usually 250,000/mm3) by adjusting the PRP with autologous platelet poor plasma. Platelet counts below 100,000/mm3 may give variable results.7

Storage and Stability: Plasma as well as whole blood should always be stored at room temperature (15-30°(C). Cover samples to maintain the pH. Tests should be performed within three hours after sample collection.

PROCEDURE Materials Provided:

Ristocetin                                      Cat. No. 5199

Materials Required but not provided in the kit:

Platelet Aggregometer (AggRAM Analyzer or

PACKS-4 Analyzer recommended)
Plastic pipette tips
Plastic or siliconized test tubes
Pipettes to deliver 50 µL or 25 µL
Pipettes to deliver 450 µL or 225 µL

STEP BY STEP METHOD

NOTE: The AggRAM and the PACKS-4 can be run with the recommended (standard) volumes or with one-half (micro) vol-umes.Standard volume tests are done at 1000 rpm and micro volume tests are done at 600 rpm. Patient results should be compared to normal ranges run under the same conditions. The following steps are for standard volume; for micro volume use one half of the standard volumes.

1. Collect and prepare blood specimen according to directions in SPECIMEN COLLECTION AND HANDLING section.

2. Reconstitute the Ristocetin according to the directions in the REAGENT section.

3. Prepare the AggRAM or the PACKS-4 for use as recommended in the Operator’s Manual.

4. Pipette 450 µL of platelet poor plasma (PPP) into a cuvette and leave at room temperature. Pipette 450 µL of platelet rich plasma (PRP) into a different cuvette and incubate the specimen at 37°C for one to three minutes.

5. Insert the PPP specimen into the appropriate channel and set the instrument to 100% aggregation.

6. Add a stir bar to the warmed PRP specimen, and insert the tube into the channel.

7. Add 50 µL of Ristocetin to the PRP specimen and record the aggregation. Analyzer sets 0% when test is started.

Quality Control: Known normal specimens should be used to establish typical aggregation patterns. Normal values for these patterns are then compared with the results from samples with marked variation from the normal range, thus indicating platelet dysfunction.8

RESULTS

One of the several methods used to quantitate platelet aggregation is the Weiss formula. It measures the initial and maximum O.D. to give a result in percent aggregation.9

O.D. Initial-O.D. Maximum x 100 = % Aggregation

O.D. Initial

Follow the Operator’s Reference Manual for the aggregation monitoring instrument being used.

LIMITATIONS

A patient medical history of all prescriptions and non-prescrip-tion drugs should be taken before testing. Medication, especially aspirin, may interfere with aggregation. For the effects of various drugs on platelet aggregation activity, refer to Young, et al.10 Prior to testing, patients should refrain from smoking or drinking, and if possible, from taking medication.

REFERENCE VALUES

Aggregation of 70-100% is a normal response when platelets are exposed to ristocetin. These values should serve as guidelines for expected values. Because differences may exist among instruments, laboratories and local populations, it is recommended that each laboratory establish its own range of expected values.

INTERPRETATION OF RESULTS

Impaired ristocetin-induced aggregation may be indicative of many things. Although most von Willebrand’s patients exhibit abnormal ristocetin-induced aggregation, some do not. In addition, defective ristocetin-induced aggregation may be present in the following disease states: (a) acute myeloblastic or monocytic leukemia, (b) infectious mononucleosis, (c) platelet storage pool disease, (d) the Bernard-Soulier syndrome, and (e) idiopathic thrombocytopenia.11 An important consideration is von Willebrand platelets correct with normal platelet-poor plasma while other disease states do not.

BIBLIOGRAPHY

1.	 Gangarosa, E.J., et al., Ristocetin-induced Thrombocytopenia: Site of Mechanism of Action. Archive of Internal Medicine 105,83,1960. 
2.	Howard, M.A. and Firkin, B.G. Ristocetin -A New Tool in the Investigation of Platelet Aggregation. Thrombosis Diathesis et
 Haemorrhagica 26,362-369, 1971.

3.	Hoyer, L.W. von Willebrand’s Disease, In: Progress in Hemostasis and Thrombosis, Vol. 3, Gruene & Stratton, New York, 231-287, 1976.

4.	NCCLS, Collection, Transport, and Processing of Blood Specimens for Coagulation Testing and Performance of Coagulation Assays, 2nd ed. -H21-A2, 1991.

5.	Triplett, D.A., Ed., Standardization of Coagulation Assays: An Overview, College of Am Path, Skokie, Ill, pg. 4, 1982.

6.	Jaques, L.B. et al., Silicones and Blood Coagulation, Canadian Med Assoc. Journal, 55:26-31, 1946.

7.	Penner, J.A. (1979) University of Michigan Medical School Blood Coagulation Laboratory Manual. Fourteenth Edition. University Publications.

8.	Triplett, D.A., et al., Platelet Function, Laboratory Evaluation and Clinical Application. ASCP, Chicago, 1978.

9.	Weiss, H.J. and Rogers, J., Thrombocytopenia Due to Abnormalities in Platelet Release Reaction, Blood, 39:2, 1972.

10.	Young, D.S. et al., Effects of Drugs on Clinical Laboratory Tests, 3rd ed., AACC Press, Washington, D.C. 1990.

11.	Walsh, R.T. The Platelet in von Willebrand’s Disease: Interactions with Ristocetin and Factor VIII. Thrombosis and Hemostasis 2,105-115, 1975.

Supplies and Equipment

Cat. No.

Ristocetin 	5199

AggRAM Analyzer	1484

AggRAM Stir Bars	1489

Packs- 4 Platelet Aggregation System	1471

AggRAM/Packs- 4 Cuvettes	1473

Packs- 4 Stir Bars	1474

Packs- 4 Replacement Tips

(50-100 µL)	1475

(100-1000 µL)	1476

Pro 38

5/04(3)